MONASH HEALTHCARE INNOVATION SUMMER SCHOLARSHIPS (HISS)

PROJECT NAME: Project LYMB

DELIVERABLES NUMBER: 3

PROJECT LEAD: Mohairees Idzhan

Stakeholder map

Systems Map

Solutions ideation

|  | Selection/Acceptance Criteria |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Solution Description | Criteria #1 Saves the clinician time | Criteria #2 Intuitive and easy to use UI/UX | Criteria #3 Easily integrate into clinician workflow | Criteria #4 Able to quickly filter through compression garment | Criteria #5 Facilitates diagnosis/treatment process | Criteria #6 Data can be visualised and represented well |
| - Lymbase.com |  |  |  |  |  |  |
| - SOZO Impedimed |  |  |  |  |  |  |
| - Pen and paper |  |  |  |  |  |  |
| - Electronic Medical Record |  |  |  |  |  |  |
| - Phone to scan and analyse patient limb |  |  |  |  |  |  |
| - CT-scan of limb |  |  |  |  |  |  |
| - 3D-visualisation of limb using AI and scanning through skin techniques |  |  |  |  |  |  |
| - Hire assistant to do measurements while clinician administers exercise |  |  |  |  |  |  |
| - Use bioimpedance spectroscopy to gather limb data |  |  |  |  |  |  |
| - Machine learning to predict suitable compression garment for patient |  |  |  |  |  |  |
| - “Smart”band around limb to automatically gather limb data |  |  |  |  |  |  |
| - Use water displacement to determine limb volume |  |  |  |  |  |  |
| - Dynamically adjustable compression garment |  |  |  |  |  |  |
| - Robotic device to measure limb fluid using compression |  |  |  |  |  |  |
| - Robotic device to measure limb dimension using lasers |  |  |  |  |  |  |
| - Calculator to determine appropriate compression garment size using limb size |  |  |  |  |  |  |
| - Suck out extracellular fluid from tissues with pump |  |  |  |  |  |  |
| - Remove hardened skin by filling it down |  |  |  |  |  |  |
| - Melt the hardened skin layer /dissolve it |  |  |  |  |  |  |
| - Make patient measure limb for themselves |  |  |  |  |  |  |